## Slide 1: Introduction to GPGPU (CS 525G) Lecture 10 – Wrapup, MRI Reconstruction
Prof Emmanuel Agu
Computer Science Dept.
Worcester Polytechnic Institute (WPI)
Notes: <number>

## Slide 2: Outline
Wrapup: Case study 2: Advanced MRI reconstruction
Final exam!
Notes: <number>

## Slide 3: MRI Reconstruction Case Study taken from Chapter 8 of the following book

## Slide 4: Objective
To learn about computational thinking skills through a concrete example
  Problem formulation
  Designing implementations to steer around limitations
  Validating results
  Understanding the impact of your improvements
A top to bottom experience!

## Slide 5: Acknowledgements
Sam S. Stone§, Haoran Yi§, Justin P. Haldar†, Deepthi Nandakumar, Bradley P. Sutton†,
Zhi-Pei Liang†, Keith Thulburin*
§Center for Reliable and
High-Performance Computing
† Beckman Institute for
Advanced Science and Technology
Department of Electrical and Computer Engineering
University of Illinois at Urbana-Champaign
* University of Illinois, Chicago Medical Center
Notes: <number>
Hi. I’m Sam Stone, one of Wen-mei’s graduate students.
Today I’ll be discussing how GPUs can improve the quality of magnetic resonance imaging. This work began as a final project in this course last spring, and we recently published our first round of results at the recent GPGPU Workshop in Boston. Before we get into the technical details of how we can use the GPU to improve the quality of MR imaging, I want to re-emphasize a point that Wen-mei has already made. That is, you have a genuine opportunity with your course projects not just to speed up an application, but to fundamentally change the boundaries of computational science in whatever domain you’ve selected.
I’ll give you an example of what I mean. After we ported this MRI application to the G80, I got an e-mail from our collaborators asking us to reconstruct an image from some scan data that they had acquired. They estimated that it would take them several months or possibly over a year to process the data themselves, but they were hoping that we could have the images ready by the end of the week so that they could hit a publication deadline. We processed the data in an afternoon, and they made their deadline.
That’s changing the boundaries of computational science. If you need several months to construct a magnetic resonance image, then it’s not worth doing. So you cut some corners to reduce the amount of computation, and the quality of your images suffers. The GPU’s computational horsepower removes the incentive to cut corners on MR image reconstruction. You don’t need to reduce computation at the expense of reducing image quality.
That’s the opportunity that you have with this project.
Getting back to MRI. MRI is a non-invasive imaging technique commonly used by the medical community to examine the structure and function of internal tissues and organs. MRI is used in many clinical settings today. I had an MRI on my knee when I tore a ligament playing basketball about ten years ago, and I’d wager that many of you may have had an MRI at some point in your lives. While MRIs of the joints are common today, there are exciting, new applications of MRI on the horizon, such as dynamic imaging of the beating heart and functional imaging of the brain. The goal of this work is to harness the computational power of the GPU to help make those next-generation applications a reality.

## Slide 6: Overview
<number>
Magnetic resonance imaging
Non-Cartesian Scanner Trajectory
Least-squares (LS) reconstruction algorithm
Optimizing the LS reconstruction on the G80
  Overcoming bottlenecks
  Performance tuning
Summary
Notes: <number>
The remainder of the lecture is organized as follows.
I’ll describe both conventional and advanced MR imaging techniques, and ultimately explain how an image reconstruction algorithm based on least-squares statistical optimality is superior to conventional reconstruction algorithms based on the Fast Fourier Transform.
I’ll then describe the least-squares reconstruction algorithm.
Then we’ll start with a very naïve implementation of the LS reconstruction in CUDA. We’ll identify the performance bottlenecks and work through the transformations and optimizations we can use to overcome those bottlenecks.
Then we’ll look at the performance we achieved, and conclude.

## Slide 7: Reconstructing MR Images
Cartesian Scan Data
Spiral Scan Data
Gridding
FFT
LS
Cartesian scan data + FFT:
Slow scan, fast reconstruction, images may be poor
Notes: <number>
To obtain an MR image of an object, the object is placed in a scanner that samples the signal emitted by the object in the spatial-frequency domain or k-space domain. The sampled k-space points define the scan trajectory, and the geometry of the scan trajectory has a first-order impact on the quality of the reconstructed image and the complexity of the reconstruction algorithm.
Cartesian scan trajectories sample the k-space on a uniform grid. The image can then be reconstructed very quickly and efficiently in one step via the FFT. For many applications, this technique is perfectly adequate, but for others, the images obtained may be poor.

## Slide 8: Reconstructing MR Images
Cartesian Scan Data
Spiral Scan Data
Gridding1
FFT
LS
Spiral scan data + Gridding + FFT:
Fast scan, fast reconstruction, better images
1 Based on Fig 1 of Lustig et al, Fast Spiral Fourier Transform for Iterative MR Image Reconstruction, IEEE Int’l Symp. on Biomedical Imaging, 2004
Notes: <number>
Thus, non-Cartesian trajectories, such as the spiral trajectory shown here, are becoming increasingly popular. These non-Cartesian scans are faster and less susceptible to artifacts than Cartesian scans.
However, the FFT cannot be applied directly to the non-Cartesian scan data. One popular approach is to “grid” the data. That is, the non-Cartesian data (shown in orange) is interpolated onto a uniform grid (shown in blue) using some sort of windowing function. The FFT can then be applied to the interpolated data. This technique introduces inaccuracies and satisfies no statistical optimality criterion, but is very fast, and does produce better images than a Cartesian scan.

## Slide 9: Reconstructing MR Images
Cartesian Scan Data
Spiral Scan Data
Gridding
FFT
Least-Squares (LS)
Spiral scan data + LS
Superior images at expense of significantly more computation
Notes: <number>
Least-squares reconstruction is a superior technique that operates directly on the non-uniform data using the least-squares optimality criterion. The combination of a non-Cartesian scan and the LS reconstruction produces images superior to those obtained via Cartesian scans or gridding. However, these superior images come at the expense of increasing the amount of computation by several orders of magnitude. For the LS reconstruction to be practical in clinical settings, it needs to be accelerated a lot.
Again, this is what we mean when we say that the GPU allows us to change the boundaries of science. The LS reconstruction algorithm isn’t viable on the CPU. It’s the GPU that makes the LS reconstruction practical, so that we don’t have to use approximate techniques like gridding.

## Slide 10: An Exciting Revolution - Sodium Map of the Brain
Images of sodium in the brain
  Very large number of samples for increased SNR
  Requires high-quality reconstruction
Enables study of brain-cell viability before anatomic changes occur in stroke and cancer treatment – within days!
Courtesy of Keith Thulborn and Ian Atkinson, Center for MR Research, University of Illinois at Chicago
Notes: <number>
<number>

## Slide 11: Least-Squares Reconstruction
<number>
Compute Q for FHF
Acquire Data
Compute FHd
Find ρ
Q depends only on scanner configuration
FHd depends on scan data
ρ found using linear solver
Accelerate Q and FHd on G80
  Q: 1-2 days on CPU
  FHd: 6-7 hours on CPU
  ρ: 1.5 minutes on CPU
Notes: <number>
The least-squares reconstruction algorithm poses the reconstruction problem in the form FHF times p = FHd.
1. P is the desired image.
2. FHF is a special data structure that can be derived very quickly from another data structure, Q. Q depends only on the scanner configuration and can therefore be computed before the scan data is even acquired. So, while computing Q is very expensive, this cost can be amortized over many reconstructions, and does not factor into the reconstruction time for any image.
3. FHd is a matrix that depends on both the scanner configuration and the data. Computing FHd is fairly expensive.
Finally, given FHF and FHd, a linear solver is used to find the image. This last step is quite fast. In fact, 99.5% of the reconstruction time for a single image is devoted to computing FHd, and computing Q is even more expensive, so those are the computations that we chose to accelerate on the G80.

## Slide 12
for (m = 0; m < M; m++) {
phiMag[m] = rPhi[m]*rPhi[m] +
iPhi[m]*iPhi[m];
for (n = 0; n < N; n++) {
expQ = 2*PI*(kx[m]*x[n] +
ky[m]*y[n] +
kz[m]*z[n]);
rQ[n] +=phiMag[m]*cos(expQ);
iQ[n] +=phiMag[m]*sin(expQ);
}
}
(a) Q computation
for (m = 0; m < M; m++) {
rMu[m] = rPhi[m]*rD[m] +
iPhi[m]*iD[m];
iMu[m] = rPhi[m]*iD[m] –
iPhi[m]*rD[m];
for (n = 0; n < N; n++) {
expFhD = 2*PI*(kx[m]*x[n] +
ky[m]*y[n] +
kz[m]*z[n]);
cArg = cos(expFhD);
sArg = sin(expFhD);
rFhD[n] += rMu[m]*cArg –
iMu[m]*sArg;
iFhD[n] += iMu[m]*cArg +
rMu[m]*sArg;
}
} (b) FHd computation
Q v.s. FHD

## Slide 13: Algorithms to Accelerate
<number>
for (m = 0; m < M; m++) {
rMu[m] = rPhi[m]*rD[m] +
iPhi[m]*iD[m];
iMu[m] = rPhi[m]*iD[m] –
iPhi[m]*rD[m];
for (n = 0; n < N; n++) {
expFhD = 2*PI*(kx[m]*x[n] +
ky[m]*y[n] +
kz[m]*z[n]);
cArg = cos(expFhD);
sArg = sin(expFhD);
rFhD[n] += rMu[m]*cArg –
iMu[m]*sArg;
iFhD[n] += iMu[m]*cArg +
rMu[m]*sArg;
}
}
Scan data
  M = # scan points
  kx, ky, kz = 3D scan data
Pixel data
  N = # pixels
  x, y, z = input 3D pixel data
  rFhD, iFhD= output pixel data
Complexity is O(MN)
Inner loop
  13 FP MUL or ADD ops
  2 FP trig ops
  12 loads, 2 stores
Notes: <number>
The algorithms for Q and FHd are nearly identical, so in the interest of time we’ll examine only Q.
There are M scan points, with the 3D scan data represented by kx, ky, kz, and phi.
There are N pixels, with the 3D pixel data represented by x, y, and z (inputs) and Q (output).
As you can see, the algorithm is embarrassingly data-parallel.
Each iteration of the outer loop corresponds to a single point of scan data. For that single point of scan data, we first compute the magnitude-squared of phi. Then, the inner loop iterates over all the pixels, because the current scan data point contributes to the value of Q at every pixel. In other words, the value of Q at each pixel depends on every scan point. Clearly, the algorithm is O(MN).
Examining the inner loop more closely, we see that there are 10 floating-point arithmetic operations, 2 floating-point trig operations, and 10 loads. This instruction mix hints at the bottlenecks we face as we map this algorithm to the G80.

## Slide 14: From C to CUDA: Step 1 What unit of work is assigned to each thread?
for (m = 0; m < M; m++) {
rMu[m] = rPhi[m]*rD[m] + iPhi[m]*iD[m];
iMu[m] = rPhi[m]*iD[m] – iPhi[m]*rD[m];
for (n = 0; n < N; n++) {
expFhD = 2*PI*(kx[m]*x[n] + ky[m]*y[n] + kz[m]*z[n]);
cArg = cos(expFhD);
sArg = sin(expFhD);
rFhD[n] += rMu[m]*cArg – iMu[m]*sArg;
iFhD[n] += iMu[m]*cArg + rMu[m]*sArg;
}
}
Notes: <number>
We know that this loop is data parallel, so we don’t need to worry about potential complications like re-writing a serial algorithm to perform the computation in parallel.
So a natural first step is to decide what unit of work should be assigned to each thread. What are some possibilities?
Have each thread execute an iteration of the outer loop (each thread reads a different piece of scan data and computes the partial sum across all the pixels for that piece of scan data. Problem: Each thread is trying to accumulate a partial sum to rQ and iQ. So this organization requires a reduction.
Have each thread execute an iteration of the inner loop. This organization avoids the reduction problem, but now each thread is doing very little work. We need one grid for each outer loop iteration. Our performance is going to be somewhat limited by the overheads associated with launching M grids and writing 2N values to global memory for each grid.

## Slide 15: One Possibility
__global__ void cmpFHd(float* rPhi, iPhi, phiMag,
kx, ky, kz, x, y, z, rMu, iMu, int N) {
int m = blockIdx.x * FHD_THREADS_PER_BLOCK + threadIdx.x;
rMu[m] = rPhi[m]*rD[m] + iPhi[m]*iD[m];
iMu[m] = rPhi[m]*iD[m] – iPhi[m]*rD[m];
for (n = 0; n < N; n++) {
expFhD = 2*PI*(kx[m]*x[n] + ky[m]*y[n] + kz[m]*z[n]);
cArg = cos(expFhD); sArg = sin(expFhD);
rFhD[n] += rMu[m]*cArg – iMu[m]*sArg;
iFhD[n] += iMu[m]*cArg + rMu[m]*sArg;
}
}
This code does not work correctly! The accumulation needs to use atomic operation.
Notes: <number>
The algorithms for Q and FHd are nearly identical, so in the interest of time we’ll examine only Q.
There are M scan points, with the 3D scan data represented by kx, ky, kz, and phi.
There are N pixels, with the 3D pixel data represented by x, y, and z (inputs) and Q (output).
As you can see, the algorithm is embarrassingly data-parallel.
Each iteration of the outer loop corresponds to a single point of scan data. For that single point of scan data, we first compute the magnitude-squared of phi. Then, the inner loop iterates over all the pixels, because the current scan data point contributes to the value of Q at every pixel. In other words, the value of Q at each pixel depends on every scan point. Clearly, the algorithm is O(MN).
Examining the inner loop more closely, we see that there are 10 floating-point arithmetic operations, 2 floating-point trig operations, and 10 loads. This instruction mix hints at the bottlenecks we face as we map this algorithm to the G80.

## Slide 16: One Possibility - Improved
<number>
__global__ void cmpFHd(float* rPhi, iPhi, rD, iD,
kx, ky, kz, x, y, z, rMu, iMu, int N) {
int m = blockIdx.x * FHD_THREADS_PER_BLOCK + threadIdx.x;
float rMu_reg, iMu_reg;
rMu_reg = rMu[m] = rPhi[m]*rD[m] + iPhi[m]*iD[m];
iMu_reg = iMu[m] = rPhi[m]*iD[m] – iPhi[m]*rD[m];
for (n = 0; n < N; n++) {
expFhD = 2*PI*(kx[m]*x[n] + ky[m]*y[n] + kz[m]*z[n]);
cArg = cos(expFhD); sArg = sin(expFhD);
rFhD[n] += rMu_reg*cArg – iMu_reg*sArg;
iFhD[n] += iMu_reg*cArg + rMu_reg*sArg;
}
}
This code does not work correctly! The accumulation needs to use atomic operation.
Notes: <number>
The algorithms for Q and FHd are nearly identical, so in the interest of time we’ll examine only Q.
There are M scan points, with the 3D scan data represented by kx, ky, kz, and phi.
There are N pixels, with the 3D pixel data represented by x, y, and z (inputs) and Q (output).
As you can see, the algorithm is embarrassingly data-parallel.
Each iteration of the outer loop corresponds to a single point of scan data. For that single point of scan data, we first compute the magnitude-squared of phi. Then, the inner loop iterates over all the pixels, because the current scan data point contributes to the value of Q at every pixel. In other words, the value of Q at each pixel depends on every scan point. Clearly, the algorithm is O(MN).
Examining the inner loop more closely, we see that there are 10 floating-point arithmetic operations, 2 floating-point trig operations, and 10 loads. This instruction mix hints at the bottlenecks we face as we map this algorithm to the G80.

## Slide 17: Back to the Drawing Board – Maybe map the n loop to threads?
for (m = 0; m < M; m++) {
rMu[m] = rPhi[m]*rD[m] + iPhi[m]*iD[m];
iMu[m] = rPhi[m]*iD[m] – iPhi[m]*rD[m];
for (n = 0; n < N; n++) {
expFhD = 2*PI*(kx[m]*x[n] + ky[m]*y[n] + kz[m]*z[n]);
cArg = cos(expFhD);
sArg = sin(expFhD);
rFhD[n] += rMu[m]*cArg – iMu[m]*sArg;
iFhD[n] += iMu[m]*cArg + rMu[m]*sArg;
}
}
Notes: <number>
We know that this loop is data parallel, so we don’t need to worry about potential complications like re-writing a serial algorithm to perform the computation in parallel.
So a natural first step is to decide what unit of work should be assigned to each thread. What are some possibilities?
Have each thread execute an iteration of the outer loop (each thread reads a different piece of scan data and computes the partial sum across all the pixels for that piece of scan data. Problem: Each thread is trying to accumulate a partial sum to rQ and iQ. So this organization requires a reduction.
Have each thread execute an iteration of the inner loop. This organization avoids the reduction problem, but now each thread is doing very little work. We need one grid for each outer loop iteration. Our performance is going to be somewhat limited by the overheads associated with launching M grids and writing 2N values to global memory for each grid.

## Slide 18
for (m = 0; m < M; m++) {
rMu[m] = rPhi[m]*rD[m] +
iPhi[m]*iD[m];
iMu[m] = rPhi[m]*iD[m] –
iPhi[m]*rD[m];
for (n = 0; n < N; n++) {
expFhD = 2*PI*(kx[m]*x[n] +
ky[m]*y[n] +
kz[m]*z[n]);
cArg = cos(expFhD);
sArg = sin(expFhD);
rFhD[n] += rMu[m]*cArg –
iMu[m]*sArg;
iFhD[n] += iMu[m]*cArg +
rMu[m]*sArg;
}
}
(a) FHd computation
for (m = 0; m < M; m++) {
for (n = 0; n < N; n++) {
rMu[m] = rPhi[m]*rD[m] +
iPhi[m]*iD[m];
iMu[m] = rPhi[m]*iD[m] –
iPhi[m]*rD[m];
expFhD = 2*PI*(kx[m]*x[n] +
ky[m]*y[n] +
kz[m]*z[n]);
cArg = cos(expFhD);
sArg = sin(expFhD);
rFhD[n] += rMu[m]*cArg –
iMu[m]*sArg;
iFhD[n] += iMu[m]*cArg +
rMu[m]*sArg;
}
} (b) after code motion

## Slide 19: A Second Option for the cmpFHd Kernel
__global__ void cmpFHd(float* rPhi, iPhi, rD, iD,
kx, ky, kz, x, y, z, rMu, iMu, int N) {
int n = blockIdx.x * FHD_THREADS_PER_BLOCK + threadIdx.x;
for (m = 0; m < M; m++) {
float rMu_reg = rMu[m] = rPhi[m]*rD[m] + iPhi[m]*iD[m];
float iMu_reg = iMu[m] = rPhi[m]*iD[m] – iPhi[m]*rD[m];
float expFhD = 2*PI*(kx[m]*x[n]+ky[m]*y[n]+kz[m]*z[n]);
float cArg = cos(expFhD);
float sArg = sin(expFhD);
rFhD[n] += rMu_reg*cArg – iMu_reg*sArg;
iFhD[n] += iMu_reg*cArg + rMu_reg*sArg;
}
}
We are adding too much work to the execution.
Notes: <number>
The algorithms for Q and FHd are nearly identical, so in the interest of time we’ll examine only Q.
There are M scan points, with the 3D scan data represented by kx, ky, kz, and phi.
There are N pixels, with the 3D pixel data represented by x, y, and z (inputs) and Q (output).
As you can see, the algorithm is embarrassingly data-parallel.
Each iteration of the outer loop corresponds to a single point of scan data. For that single point of scan data, we first compute the magnitude-squared of phi. Then, the inner loop iterates over all the pixels, because the current scan data point contributes to the value of Q at every pixel. In other words, the value of Q at each pixel depends on every scan point. Clearly, the algorithm is O(MN).
Examining the inner loop more closely, we see that there are 10 floating-point arithmetic operations, 2 floating-point trig operations, and 10 loads. This instruction mix hints at the bottlenecks we face as we map this algorithm to the G80.

## Slide 20: Tiling of Scan Data
LS recon uses multiple grids
  Each grid operates on all pixels
  Each grid operates on a distinct subset of scan data
  Each thread in the same grid operates on a distinct pixel
for (m = 0; m < M/32; m++) {
exQ = 2*PI*(kx[m]*x[n] +
ky[m]*y[n] +
kz[m]*z[n])
rQ[n] += phi[m]*cos(exQ)
iQ[n] += phi[m]*sin(exQ)
}
Thread n operates on pixel n:
Notes: <number>
Let’s look at an illustration of how the scan data is divided among the grids.
This block in the middle is our representation of the G80, with its 16 streaming multiprocessors or SMs. Each SM has 8 streaming processors or SPs. Each SM also has an instruction unit, a register file, a constant cache, two special functional units, and a shared memory (which isn’t shown).
This block at the bottom represents the location of the pixel data and scan data in the G80’s global memory.
Here, we see that all the threads in grid 0 operate on this green subset of the scan data.
Likewise, these yellow threads in block 0 operate on this yellow set of pixels, while the pink threads in block 1 operate on this pink set of pixels, and so on.
So, as you can see in this pseudocode, each thread is streaming over the same subset of the scan data, computing a partial sum for that thread’s pixel.

## Slide 21: Chunking k-space data to fit into constant memory
__constant__ float kx_c[CHUNK_SIZE],
ky_c[CHUNK_SIZE], kz_c[CHUNK_SIZE];
…
__ void main() {
int i;
for (i = 0; i < M/CHUNK_SIZE; i++);
cudaMemcpyToSymbol(kx_c,&kx[i*CHUNK_SIZE],4*CHUNK_SIZE);
cudaMemcpyToSymbol(ky_c,&ky[i*CHUNK_SIZE],4*CHUNK_SIZE);
cudaMemcpyToSymbol(ky_c,&ky[i*CHUNK_SIZE],4*CHUNK_SIZE);
…
cmpFHD<<<N/FHD_THREADS_PER_BLOCK, FHD_THREADS_PER_BLOCK>>> (rPhi, iPhi, phiMag, x, y, z, rMu, iMu, int M);
}
/* Need to call kernel one more time if M is not */
/* perfect multiple of CHUNK SIZE */
}
Notes: <number>
The algorithms for Q and FHd are nearly identical, so in the interest of time we’ll examine only Q.
There are M scan points, with the 3D scan data represented by kx, ky, kz, and phi.
There are N pixels, with the 3D pixel data represented by x, y, and z (inputs) and Q (output).
As you can see, the algorithm is embarrassingly data-parallel.
Each iteration of the outer loop corresponds to a single point of scan data. For that single point of scan data, we first compute the magnitude-squared of phi. Then, the inner loop iterates over all the pixels, because the current scan data point contributes to the value of Q at every pixel. In other words, the value of Q at each pixel depends on every scan point. Clearly, the algorithm is O(MN).
Examining the inner loop more closely, we see that there are 10 floating-point arithmetic operations, 2 floating-point trig operations, and 10 loads. This instruction mix hints at the bottlenecks we face as we map this algorithm to the G80.

## Slide 22: Revised Kernel for Constant Memory
__global__ void cmpFHd(float*
x, y, z, rMu, iMu, int M) {
int n = blockIdx.x * FHD_THREADS_PER_BLOCK + threadIdx.x;
float xn_r = x[n]; float yn_r = y[n]; float zn_r = z[n];
float rFhDn_r = rFhD[n]; float iFhDn_r = iFhD[n];
for (m = 0; m < M; m++) {
float expFhD = 2*PI*(kx[m]*xn_r+ky[m]*yn_r+kz[m]*zn_r);
float cArg = cos(expFhD);
float sArg = sin(expFhD);
rFhDn_r += rMu[m]*cArg – iMu[m]*sArg;
iFhDn_r += iMu[m]*cArg + rMu[m]*sArg;
}
rFhD[n] = rFhD_r; iFhD[n] = iFhD_r;
}
Notes: <number>
The algorithms for Q and FHd are nearly identical, so in the interest of time we’ll examine only Q.
There are M scan points, with the 3D scan data represented by kx, ky, kz, and phi.
There are N pixels, with the 3D pixel data represented by x, y, and z (inputs) and Q (output).
As you can see, the algorithm is embarrassingly data-parallel.
Each iteration of the outer loop corresponds to a single point of scan data. For that single point of scan data, we first compute the magnitude-squared of phi. Then, the inner loop iterates over all the pixels, because the current scan data point contributes to the value of Q at every pixel. In other words, the value of Q at each pixel depends on every scan point. Clearly, the algorithm is O(MN).
Examining the inner loop more closely, we see that there are 10 floating-point arithmetic operations, 2 floating-point trig operations, and 10 loads. This instruction mix hints at the bottlenecks we face as we map this algorithm to the G80.

## Slide 23: Sidebar: Cache-Conscious Data Layout
kx, ky, kz, and phi components of same scan point have spatial and temporal locality
  Prefetching
  Caching
Old layout does not fully leverage that locality
New layout does fully leverage that locality
Notes: <number>
How can the layout of scan data in the constant memory be causing the poor performance we just observed?
First, recall that the kx, ky, kz, and phi components of the same scan point have both temporal and spatial locality.
The temporal locality is across threads (when one thread loads a scan point, there’s a high probability that another thread will load the same scan point soon).
The spatial locality is both within and across threads (when one thread loads a scan point, there’s a high probability that the same thread and other threads will load nearby scan points soon).
In the old data layout, the components of the same scan point are not in contiguous memory. So prefetching isn’t as effective as it might be, and in-phase threads may cause a lot of unnecessary cache conflicts, depending on the line size and associativity of the constant caches.
In the new data layout, those problems don’t exist.

## Slide 24: Adjusting K-space Data Layout
struct kdata {
float x, float y, float z;
} k;
__constant__ struct kdata k_c[CHUNK_SIZE];
…
__ void main() {
int i;
for (i = 0; i < M/CHUNK_SIZE; i++);
cudaMemcpyToSymbol(k_c, k, 12*CHUNK_SIZE);
cmpFHD<<<FHD_THREADS_PER_BLOCK,N/FHD_THREADS_PER_BLOCK>>> ();
}
Notes: <number>
The algorithms for Q and FHd are nearly identical, so in the interest of time we’ll examine only Q.
There are M scan points, with the 3D scan data represented by kx, ky, kz, and phi.
There are N pixels, with the 3D pixel data represented by x, y, and z (inputs) and Q (output).
As you can see, the algorithm is embarrassingly data-parallel.
Each iteration of the outer loop corresponds to a single point of scan data. For that single point of scan data, we first compute the magnitude-squared of phi. Then, the inner loop iterates over all the pixels, because the current scan data point contributes to the value of Q at every pixel. In other words, the value of Q at each pixel depends on every scan point. Clearly, the algorithm is O(MN).
Examining the inner loop more closely, we see that there are 10 floating-point arithmetic operations, 2 floating-point trig operations, and 10 loads. This instruction mix hints at the bottlenecks we face as we map this algorithm to the G80.

## Slide 25
__global__ void cmpFHd(float* rPhi, iPhi, phiMag,
x, y, z, rMu, iMu, int M) {
int n = blockIdx.x * FHD_THREADS_PER_BLOCK + threadIdx.x;
float xn_r = x[n]; float yn_r = y[n]; float zn_r = z[n];
float rFhDn_r = rFhD[n]; float iFhDn_r = iFhD[n];
for (m = 0; m < M; m++) {
float expFhD = 2*PI*(k[m].x*xn_r+k[m].y*yn_r+k[m].z*zn_r);
float cArg = cos(expFhD);
float sArg = sin(expFhD);
rFhDn_r += rMu[m]*cArg – iMu[m]*sArg;
iFhDn_r += iMu[m]*cArg + rMu[m]*sArg;
}
rFhD[n] = rFhD_r; iFhD[n] = iFhD_r;
}
Figure 7.16 Adjusting the k-space data memory layout in the FHd kernel
Notes: <number>
The algorithms for Q and FHd are nearly identical, so in the interest of time we’ll examine only Q.
There are M scan points, with the 3D scan data represented by kx, ky, kz, and phi.
There are N pixels, with the 3D pixel data represented by x, y, and z (inputs) and Q (output).
As you can see, the algorithm is embarrassingly data-parallel.
Each iteration of the outer loop corresponds to a single point of scan data. For that single point of scan data, we first compute the magnitude-squared of phi. Then, the inner loop iterates over all the pixels, because the current scan data point contributes to the value of Q at every pixel. In other words, the value of Q at each pixel depends on every scan point. Clearly, the algorithm is O(MN).
Examining the inner loop more closely, we see that there are 10 floating-point arithmetic operations, 2 floating-point trig operations, and 10 loads. This instruction mix hints at the bottlenecks we face as we map this algorithm to the G80.

## Slide 26: Overcoming Mem BW Bottlenecks
Old bottleneck: off-chip BW
  Solution: constant memory
  FP arithmetic to off-chip loads: 421 to 1
Performance
  22.8 GFLOPS (FHd)
New bottleneck: trig operations
Notes: <number>
The next version overcomes the memory BW bottleneck by using the constant caches to exploit spatial and temporal locality in the accesses of the scan data.
With some simplifying assumptions about conflicts in the constant cache, we estimate that there are now 284 FP arithmetic operations for each off-chip memory access.
<Jump to the next slide>
Memory BW is no longer a problem.
However, the overall performance is still only about 20 GFLOPS, or 6% of the peak theoretical throughput on the G80.
The trig operations, which are still executing as library calls on the SPs, are the culprit.
How can we overcome the bottleneck on the computation of the trig instructions?
Use the SFUs, which compute the trig operations with what we believe is 4-cycle latency.
<Move forward 2 slides>

## Slide 27: Sidebar: Estimating Off-Chip Loads with Const Cache
How can we approximate the number of off-chip loads when using the constant caches?
Given: 128 tpb, 4 blocks per SM, 256 scan points per grid
Assume no evictions due to cache conflicts
7 accesses to global memory per thread (x, y, z, rFhD x 2, iFhD x 2)
  4 blocks/SM * 128 threads/block * 7 accesses/thread = 3,584 global mem accesses
4 accesses to constant memory per scan point (kx, ky, kz)
  256 scan points * 3 loads/point = 768 constant mem accesses
Total off-chip memory accesses = 3,584 + 768 = 4,352
Total FP arithmetic ops = 4 blocks/SM * 128 threads/block * 256 iters/thread * 14 ops/iter = 1,835,008
FP arithmetic to off-chip loads: 421 to 1
Notes: <number>
<Jump back to the previous slide>

## Slide 28: Using Super Function Units
Old bottleneck: trig operations
  Solution: SFUs
Performance
  92.2 GFLOPS (FHd)
New bottleneck: overhead of branches and address calculations
Notes: <number>
When we allow the trig operations to run on the SFUs, performance increases to nearly 100 GFLOPS – roughly 30% of the G80’s peak theoretical throughput.
What’s the cost of using the SFUs to compute the trig?
1. Approximations. We lose some accuracy. For this application, that turns out not to be a problem. But it’s important than you analyze your application to determine how much inaccuracy the SFUs are introducing, and whether the app can tolerate than inaccuracy.
The remaining bottleneck is the overhead of branches and address calculations. What can we do to decrease those overheads?
1. Unroll the loop.

## Slide 29: Sidebar: Effects of Approximations
Avoid temptation to measure only absolute error (I0 – I)
  Can be deceptively large or small
Metrics
  PSNR: Peak signal-to-noise ratio
  SNR: Signal-to-noise ratio
Avoid temptation to consider only the error in the computed value
  Some apps are resistant to approximations; others are very sensitive
A.N. Netravali and B.G. Haskell, Digital Pictures: Representation, Compression, and Standards (2nd Ed), Plenum Press, New York, NY (1995).
Notes: <number>

## Slide 30: Step 3: Overcoming Bottlenecks (Overheads)
Old bottleneck: Overhead of branches and address calculations
  Solution: Loop unrolling and experimental tuning
Performance
  145 GFLOPS (FHd)
Notes: <number>
We experimented with different loop unrolling factors (1,2,4,8,16).
We also experimentally tuned the number of threads per block and the number of scan points per grid.
We’ll discuss the experimental tuning in a few minutes.
But the bottom line is that loop unrolling and experimental tuning improves Q’s performance to 179 GFLOPS and FHd’s performance to 145 GLFOPS.
The loop unrolling is particularly effective, as it reduces the overhead of branch instructions and address calculations.
What’s the bottleneck now?
Most likely the issue rate. We haven’t rigorously analyzed the instruction mix, but at this point the ratio of FP instructions to INT instructions is probably about 1:1. So we’re limited to 50% of the chip’s theoretical maximum throughput.

## Slide 31: Experimental Tuning: Tradeoffs
In the Q kernel, three parameters are natural candidates for experimental tuning
  Loop unrolling factor (1, 2, 4, 8, 16)
  Number of threads per block (32, 64, 128, 256, 512)
  Number of scan points per grid (32, 64, 128, 256, 512, 1024, 2048)
Can’t optimize these parameters independently
  Resource sharing among threads (register file, shared memory)
  Optimizations that increase a thread’s performance often increase the thread’s resource consumption, reducing the total number of threads that execute in parallel
Optimization space is not linear
  Threads are assigned to SMs in large thread blocks
  Causes discontinuity and non-linearity in the optimization space
Notes: <number>

## Slide 32: Experimental Tuning: Example
Increase in per-thread performance, but fewer threads:
Lower overall performance
Notes: <number>
Here’s an illustration of how experimental tuning can be a tricky process. This is a generic illustration, not tied to the MRI kernel that we’ve been studying.
In the frame on the left, the kernel is fully utilizing the register file and is using most of the shared memory. SP utilization is at roughly 75%.
In the frame on the right, we’ve applied some sort of optimization, such as loop unrolling, in an effort to increase the utilization of the SPs. The optimization increases the number of registers per thread by a small amount, perhaps 1 or 2 additional registers per thread. Unfortunately, we can no longer fit 3 thread blocks into the register file, so we’re forced to run with 2 thread blocks, and SP utilization actually decreases as a consequence.

## Slide 33: Experimental Tuning: Scan Points Per Grid
Notes: <number>
Here’s some of the data that we used to tune the number of scan points per grid for the MRI application.
Each line represents a particular combination of loop unrolling factor and threads per block.
On the x-axis, we vary the number of scan points per grid.
The y-axis represents runtime, so lower is better.
We were really baffled the first time we looked at this data. As you can see, runtime tends to increase as the number of scan points per grid increases. That’s counter-intuitive. Why would performance get worse as the amount of data processed by each kernel increased?
1. Conflicts in the constant cache.

## Slide 34: Experimental Tuning:Scan Points Per Grid (Improved Data Layout)
Notes: <number>
With the new layout of data in the constant cache, performance no longer changes as the number of scan points per grid changes.
Overall performance has increased quite a bit: 20-25%.

## Slide 35: Experimental Tuning: Loop Unrolling Factor
Notes: <number>
Performance varies by as much as 75% from one loop unrolling factor to another.
At the sweet spot, the loop is unrolled 4 times.

## Slide 36: Sidebar: Optimizing the CPU Implementation
Optimizing the CPU implementation of your application is very important
  Often, the transformations that increase performance on CPU also increase performance on GPU (and vice-versa)
  The research community won’t take your results seriously if your baseline is crippled
Useful optimizations
  Data tiling
  SIMD vectorization (SSE)
  Fast math libraries (AMD, Intel)
  Classical optimizations (loop unrolling, etc)
Intel compiler (icc, icpc)
Notes: <number>
The Intel compilers are very helpful for quickly experimenting with vectorization and classical optimizations. You can save a lot of time that would otherwise be spent coding those optimizations by hand.

## Slide 37: Summary of Results
 | Q |  | FHd |  |  | 
Reconstruction | Run Time (m) | GFLOP | Run Time (m) | GFLOP | Linear Solver (m) | Recon. Time (m)
Gridding + FFT (CPU, DP) | N/A | N/A | N/A | N/A | N/A | 0.39
LS (CPU, DP) | 4009.0 | 0.3 | 518.0 | 0.4 | 1.59 | 519.59
LS (CPU, SP) | 2678.7 | 0.5 | 342.3 | 0.7 | 1.61 | 343.91
LS (GPU, Naïve) | 260.2 | 5.1 | 41.0 | 5.4 | 1.65 | 42.65
LS (GPU, CMem) | 72.0 | 18.6 | 9.8 | 22.8 | 1.57 | 11.37
LS (GPU, CMem, SFU) | 13.6 | 98.2 | 2.4 | 92.2 | 1.60 | 4.00
LS (GPU, CMem, SFU, Exp) | 7.5 | 178.9 | 1.5 | 144.5 | 1.69 | 3.19
8X
Notes: <number>
So, having taken apart the implementation of the LS reconstruction and put it back together again, how did we do?
We find that the reconstruction based on gridding and the FFT runs in roughly 23 seconds, while the fastest reconstruction based on least-squares runs in 3 minutes, 11 seconds. So the conventional reconstruction is roughly an order of magnitude faster than least-squares. But the LS reconstruction finishes in just over 3 minutes, which is adequate for many emerging applications.

## Slide 38: Summary of Results
 | Q |  | FHd |  |  | 
Reconstruction | Run Time (m) | GFLOP | Run Time (m) | GFLOP | Linear Solver (m) | Recon. Time (m)
Gridding + FFT (CPU, DP) | N/A | N/A | N/A | N/A | N/A | 0.39
LS (CPU, DP) | 4009.0 | 0.3 | 518.0 | 0.4 | 1.59 | 519.59
LS (CPU, SP) | 2678.7 | 0.5 | 342.3 | 0.7 | 1.61 | 343.91
LS (GPU, Naïve) | 260.2 | 5.1 | 41.0 | 5.4 | 1.65 | 42.65
LS (GPU, CMem) | 72.0 | 18.6 | 9.8 | 22.8 | 1.57 | 11.37
LS (GPU, CMem, SFU) | 13.6 | 98.2 | 2.4 | 92.2 | 1.60 | 4.00
LS (GPU, CMem, SFU, Exp) | 7.5 | 178.9 | 1.5 | 144.5 | 1.69 | 3.19
108X
228X
357X
Notes: <number>
Also, relative to the CPU, the GPU achieves speedup of 357X for Q, 228X for FHd, and 108X for the reconstruction.
The acceleration for FHd is lower than the acceleration for Q most likely because FHd has two sines and two cosines in each inner loop, which may oversubscribe the SFUs.
The acceleration for the total reconstruction is only 108X because the linear solver, which initially accounted for less than 0.5% of the reconstruction, now accounts for roughly 50%. We expect that the running the solver on the G80 will cut the total reconstruction time to about 100 seconds.

## Slide 39: Questions?
+
=
Scanner image released distributed under GNU Free Documentation License.
GeForce 8800 GTX image obtained from http://www.nvnews.net/previews/geforce_8800_gtx/index.shtml
Notes: <number>
Images: MRI Scanner + GeForce 8800 GTX = Really cool MRI image

## Slide 40: Experimental Methodology
Reconstruct a 3D image of a human brain1
  3.2 M scan data points acquired via 3D spiral scan
  256K pixels
Compare performance several reconstructions
  Gridding + FFT recon1 on CPU (Intel Core 2 Extreme Quadro)
  LS recon on CPU (double-precision, single-precision)
  LS recon on GPU (NVIDIA GeForce 8800 GTX)
Metrics
  Reconstruction time: compute FHd and run linear solver
  Run time: compute Q or FHd
1 Courtesy of Keith Thulborn and Ian Atkinson, Center for MR Research, University of Illinois at Chicago
Notes: <number>
Our experimental methodology was as follows.
We reconstructed a 3D image of a human brain, with 64 pixels in each dimension and 3.2M scan data points, which were acquired via a 3D spiral scan trajectory.
We evaluated several versions of the reconstruction.
First, we performed the reconstruction based on gridding and the FFT, because we wanted to know the speed of a conventional reconstruction of non-Cartesian data.
Second, we performed the least-squares reconstruction on the CPU, using both single- and double-precision implementations.
Finally, we experimented with several different implementations of the LS reconstruction on the GPU.
It’s important to keep two metrics in mind as we examine the results. The first metric, reconstruction time, is the time required to perform the reconstruction, which includes computing FHd and running the linear solver. Recall that the linear solver has not yet been parallelized. The second metric, run time, is the time required to compute Q and FHd. Both metrics are useful in helping us understand how the reconstruction is performing.
1:00